PH 481			Physical Optics				Winter 2012

Laboratory #2		Week of January 23

Read:	pp. 407-410 of "Optics" by Hecht

Do:	1.  Experiment II.1:  Michelson Interferometer: align, calibrate, and measure of HeNe

2.  Experiment II.2:  Michelson Interferometer: measure  and  of Na D lines

Experiment II.1: Michelson Interferometer: align, calibrate, and measure of HeNe

The goal of this lab is to familiarize yourself with the Michelson Interferometer, to align it properly, and to calibrate the motion of the mirror.  The figure shows a schematic of the Michelson Interferometer you will use.  It is set up so that the output of the interferometer is directed off the table towards you.  This is not great for the part of the experiment involving the Helium-Neon laser, but is very useful for the rest of the experiment.  Be sure to use the target when using the Helium-Neon laser.  Do not under any circumstances look into the interferometer output when using the laser (even though you will do this when using the lamp sources).

To align the interferometer, first use the alignment procedure so the laser beam is parallel to the table top (at an approximate height of 13.5 cm).  This should place the laser beam approximately in the middle of the movable mirror.  If the beamsplitter is already adjusted, another beam should hit the fixed mirror in is center.  If your table has the laser coming from the left, the fixed and movable mirror will be swapped.  Adjust the movable and fixed mirrors so that they return beams nearly directly back to the laser.

There should now be two or more reflected beams on the target.  Carefully adjust the movable and fixed mirrors so that the beams overlap on the target.  At this point you may already notice some interference fringes.  To make things more clear, convert the parallel laser input beam into a diverging beam (i.e., a point source) by inserting a diverging lens (-25 mm works well) in front of the interferometer.  You should then see a set of concentric circles (a bull's eye pattern). These are the fringes formed by the interference of the two beams that have traveled through the two arms of the interferometer.  Slight adjustments of the interferometer mirrors will allow you to center this pattern.

If we let d be the difference in path lengths of the two arms of the interferometer, then the pattern of concentric circles is described by the equation

,

where m is an integer and m is the angle of the mth dark ring (due to constructive interference).  As you change d by moving one the mirrors, the size of the pattern will change.  As d approaches zero, the pattern gets large, and in principle, the dark fringe at d=0 will fill the screen.  In practice, that is hard to see due to astigmatism and imperfection in the optics.

Demonstrate this behavior.

To measure wavelength, one merely has to move the mirror and count the fringes that “go by”.  The center of the pattern at = 0 will act as a source or sink of fringes.  If we record the appearance or disappearance of N fringes during a displacement d of the mirror, then

,

which is equivalent to saying that we will see one fringe every time that d changes by /2.

One mirror of the interferometer is mounted on a translation stage.  Be careful of sudden movements which will disturb the interferometer and the reliability of your measurements.  The reaction force acted upon the base of the translation stage due to the motor may throw off measurements.  It is best to have the motor turning before beginning to count fringes.  It does not matter which way the stage moves, just be careful to avoid running to the end of the travel. You can adjust the max speed under “settings.” After the stage is moving at full speed (you can adjust the max speed under “settings”) there should be a sine wave on the oscilloscope. You can then freeze the image with the Run/Stop button.  From here you may export data from the oscilloscope onto a flash drive which may be viewed in Excel or some other data analysis program.

The Helium-Neon laser has a wavelength of 633 nm.  We want to verify the wavelength of the laser using the equation above.  In order to use the translation stage as a mechanism for constant velocity, we must first check its validity.  To do this, solve for the wavelength of the HeNe laser by counting the fringes that pass by with your eye.  You should count about 20 fringes several times to reduce uncertainty in your measurement.  With the oscilloscope, use this value of the laser wavelength to verify the velocity of the translation stage.  Next, run the stage at a velocity of your choice and use the oscilloscope to verify that it is traveling at constant velocity.  Lastly, assuming the velocity function of the translation stage is both accurate and constant, determine the wavelength of the HeNe laser with the oscilloscope.

Before going to the next experiment use a polarizer in each arm of the Michelson Interferometer to verify the first Fresnel-Arago law (see p. 391-392 and p. 411 of Hecht), which says that orthogonal polarization states cannot interfere.

What happens if you stick a glass slide into one of the arms? If you use soldering iron to carefully heat one of the components? Explain.

Experiment II.2: Michelson Interferometer: measure  and  of Na D lines

In this experiment you will use a sodium vapor lamp as the source of coherent light for the Michelson interferometer.  The lamp emits yellow light from the first resonance line of sodium, often called the D line.  This line is actually a closely spaced doublet, which can be resolved in this experiment.  You will measure the wavelength  of the D line and the splitting  of the two components (D1 and D2).  To measure the wavelength, you proceed as in the case of the laser, but now you measure N and d to find .  Finding the splitting  is a little different.  The next paragraph explains how.

The two wavelengths present in the light from the sodium lamp will produce a pair of interference patterns.  There will be two sets of concentric circles corresponding to 1 and 2.  These wavelengths are only slightly different, which means that patterns will be nearly identical, with only a slight difference in the angular separation between two adjacent fringes.  If the two patterns each have a bright fringe at = 0, then we cannot distinguish one from the other there.  As  increases, one set of circles will start to move away from the other until the bright fringes from one wavelength fall exactly half way between the bright fringes of the other wavelength.  At this point it is almost impossible to tell that there are any fringes at all.  This is what we call a fringe washout.  As  increases further, we will eventually come to another place where the bright fringes overlap.  At this point, the fringe pattern is most distinct, that is, there is a maximum in the fringe contrast (as opposed to a minimum at the fringe washout).  If there are N fringes of the 1 pattern between the center and the next location of maximum contrast, then there will be N + 1 fringes of the 2 pattern (or N - 1 if 1 < 2).  To actually count these numbers we will move the mirror and watch at =0.  In that case, one finds that displacement of the mirror d can be written as

.

Since 1 = 2 +, we can derive an equation for the splitting:

.

Place the vapor lamp close to the input of the interferometer.  A piece of frosted or ground glass in front of the lamp will help to reduce the intensity and will also provide a uniform background against which to view the fringes.  Remove the target from the previous experiment and now look into the output port of the interferometer.  You should see a set of concentric fringes as before.  If not, you may be at a washout, so just translate the movable mirror until fringes become visible.

To measure  (which will be the average of 1 and 2) you should count 100 fringes near a maximum of visibility.  To measure , you should count fringes between washouts since they are easier to determine than the maxima.  It will be difficult to actually count all the fringes, but you can infer N, since you know  and d.  You should go through several washouts to improve your precision.  If each washout is hard to determine within 10 fringes and they are separated by 100 fringes, then your error is about 10% (10/100).  But if you go through ten washouts, then your error is only 1% (10/1000).  Estimate the error for your experiment.

Equipment needed:

Item	Qty	Source (part #)

Helium-Neon Laser	1	Melles Griot 05 LHP 121

Al mirror	2	Newport 10D10ER.1

Polarizer	2	Edmund A38,396

-25 mm lens	1	Newport KPX043

Sodium vapor lamp	1

Translational Stage 	1	Thor Labs

Controller

Oscilloscope	1	Tektronix

Photodiode	1	Thor Labs

Michelson hardware

Platform	1	Thor Labs (special)

Mounting posts	4	Thor Labs P3

Translation stage	1

Mirror mount	2	Thor Labs KM1

Al mirror	2	Newport 10D10ER.1

Optics mount (face plate)	2	Thor Labs (special)

Riser block	3	Thor Labs RB2

Base plate	1	Thor Labs BP2

Beam splitter	1	Newport 10B10BS.1

Compensator	1	Newport 10B10